## Slide 1: JWST’s Cryogenic Position Metrology System
ITT Exelis: Tony L.Whitman, Thomas Scorse, Keith A. Havey, Jr
Johns Hopkins University: Randolph P. Hammond, Joe Orndorff, Stephen Hope, Stephen A. Smee
SPIE 8442 – 91
July 6, 2012

## Slide 2: Agenda
Introduction
Motion Design
Window Design
Flash Improvements

## Slide 3: Cryogenic Optical Test Configuration of JWST
Center of Curvature Optical Assembly (COCOA)
Interferometer, null, calibration equipment
Coarse/fine PM phasing tools
Displacement Measuring Interferometer
3 Autocollimating Flat Mirrors
Piston and Tilt actuation
Photogrammetry
4 camera windmills
Targets and codes
Scale Bars
LN2 and Helium Cryogenic Shrouds and “barn door”
Absolute Distance Meter
Optical Test Point Sources at intermediate telescope focus

## Slide 4: Camera Windmill Configuration
3 Flat mirrors for auto-collimation
4 Windmills Each with 1 Camera inside canister at end of 3.4 m radius boom
JWST

## Slide 5: Windmill Assembly
Counter weight
Shaft
Rotating
Boom
Canister with Camera
Drive Motor
Plumbing take-up reel

## Slide 6: Relation to Cryogenic Walls
Pressure wall
Liquid Nitrogen wall
Cryogenic Helium wall

## Slide 7: Boom Drive Gear Motor
Resolver
Worm Gear
180: 1 ratio
Worm
w/ Teflon anodize coating
Stepper Motor
~ 100 K
Inertia-Matching Mass
Limit Switch Assembly
w/ Ti flexure

## Slide 8: Canister Motions
Tilt-Axis Drive Motor
291 K
Tilt Axis
+60° / - 75°
Worm Gear
~ 20 K
Pan-Axis Shaft
Delrin plugs maintain snug during full temperature range
Feed thru for electrical cables
Pan Axis
+/- 60°
INCA-3 Camera
Yoke
Camera Roll Motor
Camera Roll
90°

## Slide 9: Tilt Drive
Harmonic Drive Gearhead
Stepper Motor
(warm side)
Limit Switch Assembly
Ferro-Fluidic Feedthrough
Canister
Gaseous Nitrogen Purge Inlet

## Slide 10: Camera Drive
Temperature Sensor Board
Power Distribution and Communication Board
Stepper Motor
Harmonic Drive Gearhead
INCA-3 Camera
All drive electronics at this board level
Only power and Ethernet travel long boom distance

## Slide 11: Window design

## Slide 12: Flash and Camera Spectral Ranges

## Slide 13: Material / Coatings Internal Transmissivity
Sapphire and CaFl are not very effective FIR filters
BK7, Fused Silica, and several commercially available optical coatings are effective

## Slide 14: Double Window for Flash and Camera
Flash
Camera
Warm inside pressure windows
Colder outer vacuum windows

## Slide 15: Window Material & Coatings
Visible AR coating
Custom Infrared
Reflective Coating
Visible Anti-Reflective (AR) coating
Visible AR coating
BK7 Pressure window
(T ≈ 291K)
BK7 “filter” window
(T ≈ 30K)
Camera
Chamber
Transmission Stack-Up Reflectance / Absorption
BK7 window (w/ 2 sided AR coatings): 0.98 Reflective Coating film is 85%
BK7 window (w/ 1 sided AR coating): 0.99 reflective at wavelengths > 5μm
BK7 is 100% absorptive at wavelengths > 4μm

## Slide 16: Stray Light and Thermal Performance
Transmission rate above 4μm for the cold window (BK7 w/ reflective coating) is essentially zero
A small amount of radiant energy is emitted from the cold window itself
Stray light emission rate estimates are:
  NIRCam 0.6-2.3 μm = 0.16 μW
  NIRCam 2.3-5.0 μm = 5.13 μW
  MIRI 5-6.2 μm = 0.89 μW
  MIRI 5-27 μm = 27.01 μW
Thermal emission rate estimate:
  Thermal 2-100 μm = 0.64 mW
Compare to 1.1 μW emission requirement
Compare to 6 mW emission requirement

## Slide 17: FLASH

## Slide 18: Example Flash Performance 100 k flashes planned for JWST Tests
Average life 64, 000 flashes

## Slide 19: Original Housing and Bulb
Bulb after 100,000 flashes

## Slide 20: Improved Housing and Bulb in Test
Air flow cooling and larger housing
Switch from borosilicate to quartz glass
Improvements currently testing at an average life of 165, 000 flashes

## Slide 21: Bulb Replacement
Bulb housing module designed for easy removal from front of canister at 15 meter height

## Slide 22: Summary
Cryogenic photogrammetry system with
  3.4 m radius windmill boom
  +/- 60° pan range
  + 60° / - 75° tilt range
  90° camera roll
Radiation reduced for sensitive JWST
  < 1 milliwatt heat
  < 1 microwatt within the passband of the MIRI selected filter
Flash life increased from 64 k to 165 k flashes
  100 k flashes planned